## Project Info
Project Type | Location | Project ID | Customer | Site Name | Site Address | Shipping Address | Contract Type
Install | Fixed Site
De-install | Mobile Site
Upgrade | Relocatible
Special project | Warehouse
Vendors | Contact Name | Phone number | Notes
Site Manager
Contractor
Project Manager
Shipper
Rigger
Other
Modality | Size | Type | Software | Options | Coils | Equipment
MRI | 0.35T | S1 | 1x | Echo Planar Imaging | CRM
CT | .5T | S2 | 2x | Fast Gradient Echo | BRM
PET | .7T | S3 | 3x | CINE | TRM
PET/CT | 1.0T | S4 | 4x | Fast Spin Echo & FLAIR | XRM
X-Ray | 1.5T | S5 | 5x | Time of Flight | Breast Coil
Mamo | 3T | SX | 6x | Phase Contrast Vascular | Open Breast Coil
Ultra Sound | 7T | CX | 7x | Research | Vibrant Bilateral Breast Array Coil
Dexa | H1 | LCC | 8x | Proactive Service | Cardiac Phased Array Coil
| H2 | TWIN | 9x | Research PSD | Channel Cardiac Array Coil
| H3 | MR40 | 10x | Spectroscopy/ PROBE | Extremity Coil
|  | MR750 | 11x | Videoconferencing | Signa Coil
|  | LXI | 12x | SGD_EchoSpeed | Knee Phased Array Coil
|  | DXI | 14x | DW EPI | Lower Leg Array Coil
|  | FXI | 15x | FLAIR EPI | HD Knee Array Coil
|  | LS | 16x | SPECIAL | T/R Knee/Foot Coil
|  | LS Ultra | 20x | Smart Prep | High Resolution Wrist Coil
|  | LS Plus | 21x | SSFSE | General Pupose Flex Coil
|  | LS Xtream | 22x | Three Plane Localizer | Channel Flex Phased Array Coil for Signa Excite HD
|  | VCT |  | Modality Worklist | MNS Phosphorus Flex Coil
|  | NXI |  | E3DTOF | Head Coil Tuning Check (Classic)
|  | DLS |  | FSE_XL | Signa Infinity Split Head Coil
|  | DST |  | Bloodsupp | Channel High Resolution Brain Array Coil
|  |  |  | Fastcine | Quadrature NV Coil
|  |  |  | Tagging | Quadrature NV Array Coil
|  |  |  | sgdperf | HD NV Array Coil
|  |  |  | DW-epiz | Phased Array NV Coil
|  |  |  | iDRIVE Pro | Open NV Coil
|  |  |  | iDrive | Channel NV Array Coil
|  |  |  | Smart Prep 2000 Upgrade | Flow 7000 Phased Array Peripheral Vascular Coil
|  |  |  | Probe 2000 Upgrade | CV/i Peripheral Vascular Coil
|  |  |  | Multi -Nuclear Spectro | Phased Array Shoulder Coil
|  |  |  | Functool2 | Shoulder Coil
|  |  |  | Voxtool | MRID Phased Array Shoulder Coil
|  |  |  | Interactive Vascular Imag | Mark 9000 Phased Array Shoulder Coil
|  |  |  | Clairview | Quadrature Cervical Spine Coil
|  |  |  | Spectro Analysis GE | Anterior Neck Coil
|  |  |  | Preformed Procedure Step | Posterior Neck Coil
|  |  |  | High Speed | Quadrature T/L Spine Coil
|  |  |  | fgret | CTL Phased Array Coil
|  |  |  | fgret Real Time | Profile 7000 Phased Array Volume Neck Coil
|  |  |  | Spiral Hi-Res | CTL Phased Array Coil
|  |  |  | Spiral Real Time | Premier 9000 8-Channel CTL Array Coil
|  |  |  | iDrive Pro Plus | 8-Channel CTL Spine Coil
|  |  |  | PROBE 3d Brain | Signa Horizon Pelvic Phased Array Coil
|  |  |  | Ultrashort TR | Torso Phased Array Coil
|  |  |  | T2 Breathhold | Prima 9000 8-Channel Body Array
|  |  |  | SSFSE MRCP | ATD Torso (ATD-T) Assembly
T1 Breathhold
Line Scan Diffusion Imag
Image Filter
ACGD Plus
Probe 3D Prostate
Fluoro-triggered MRA
MRCP3
PSIR
Dynamic R1
Fiesta 2D
Fiesta 3D
Delayed Enhancement
Asset
ProbePRESS
CREATIV
Navigator
Diffusion Tensor
3DFRFSE
Asset plus
Fat Water 2001
Rapid Frame
TRICKS
FIESTA-c
Breast 2
Propeller DWI
3D Delayed Enhancements
3D Fat Sat FIESTA
MR AppStudio
Brain Wave RT
Brian Wave PA
Brain Wave HW
Propeller T2
3T Restricted Apps
2D Fat Sat FIESTA
MR-Echo
8 Channel System
16 Channel System
Lava
Fiber Tank
FLAIR3D
Multi-Phase (variable delays)
Dual Array
Timeout Application
Blood Flow and Volume Measurements
Time Course
SWIFT
T2MAP
2D MERGE
LAVA-XV
SMART-P
BRAVO
Breast Single Voxel Spectroscopy
COSMIC
32 Channel System
Integrated Patient Comfort module
Brainwave Fusion
Data Sheets | Tools/Kits | Moving equipment | Supplies | Parts | Pads/Straps | Phantoms | Extras
System inspection Report | Kit001 Magnetometer | Large forklift | Pallets | See FRUs |  | DQA | Main Disconnect
Install Check List | Kit002 de-ice kit | Small forklift | Large boxes |  |  | ACR | DC Lighting
De-install check List | Kit003 Lakeshore meter kit | Pallet jack | Medium boxes |  |  | Head TLT | Variable lighting resistor
Iso/grad cal data sheet | Kit004 Lakeshore kit | Orange bars | Small boxes |  |  | Body Loader | Chiller
Ramp Up data sheet | Kit005 Ramp probe kit | Table wheels | Large bubble wrap |  |  | LVshim | AC unit
Ramp down data sheet | Kit006 short fill line helium kit | Hydraulic cart | Small bubble wrap |  |  | Quick shim | Race ways
Supercon Shim data sheet | Kit007 ramp and shim cable kit | Scissor lift | Shrink wrap |  |  | 100mm ball | Raised flooring
Grafidy data sheet | Kit008 grafidy kit 1.5T | Boom truck | Tape gun |  |  | CTL Phantoms | Transformer
SNR data sheet | Kit009 cold head change kit | Large craine | Tape |  |  | Bottle Phantom | UPS
PM data sheet | Kit010 CT hoist kit | Small craine | Nitrogen liquid |  |  |  | RDU
Mobile check list | Kit011 MR ramp down kit | Tow truck | Helium gas |  |  |  | Magmon
Fixed site check list | Kit012 shim cable kit | Machine Skates | Helium liquid |  |  |  | Camera
| Kit013 MR ramp supply | CT gantry dollies |  |  |  |  | Injector
| Kit014 MR Ramp and Shim supply | PET gantry dollies |  |  |  |  | Pulse ox
| Kit015 MR Shim supply | Table dollies
Kit016 TPSRF service kit
Kit017 Grad calibration phantom kit
| Kit018 non magnetic gradient crimpper |  |  |  |  | Water phantom
| Kit019 dynamic disable switch tool |  |  |  |  | Small Polly phantom
| Kit020 coil tuning extension cable |  |  |  |  | Medium Polly phantom
| Kit021 Max RF Dummy load sample |  |  |  |  | Large Polly phantom
Kit022 Body coil rotator kit
Kit023 3M service vacuum
Kit024 high pressure regulator
Kit025 1.5T measurement tool
Kit026 manual lake shore measurment
Kit027 ramp prob kit with S series and LCC
Kit028 pressure vacuum kit
Kit029 1.5T RF dummy load
Kit 030 MRI hero kit
Kit031 RDU netbook
Kit032 body coil change kit
Kit033 Hioki meter kit
Kit034 shim camera alignment
Kit 035 Shim camera alignment mod
Kit036 plotting fixture kit
Kit037 De-Installation kit
Kit038 Magnet skate jack kit
Kit039 Nitrogen fill kit
Kit040 HFO ramp cable kit
Kit041 LCC magnet recon temp meter
Kit042 .7 T passive shim disk kit
Kit043 RF door seal repair kie
Kit044 HFO passive shim fixture kit
Kit045 Gauss Meter kit
Kit046 crimp kit
Kit047 .7T graffidy kit

## De-install
Item # | Prep, travel and verification | N/A | Initals | Started | Finished | Hours | Notes | Item # | Physical and packing | N/A | Initals | Started | Finished | Hours | Notes | Item # | Rigging, shipping and follow up | N/A | Initals | Started | Finished | Hours | Notes
DT1 | Verify job; scraping, saving, coils, extras, ect.. | [6 empty] | DP1 | Coldhead running or scrapping the magnet | [6 empty] | DR1
DT2 | Verify site address, contacts and access | [6 empty] | DP2 | Jumper out the E-stop loop in the A1 (T3 to 7) | [6 empty] | DR2
DT3 | Schedule trip; flights, hotel, car, ect… | [6 empty] | DP3 | Check Vent Pipe integrity and exit path | [6 empty] | DR3 | Two Hours before Riggers /Crane - Turn off Coldhead, De-install Lines, Compressor and Main Disconnect
DT4 | Ship out all supplys, tools and equipment | [6 empty] | DP4 | Perform helium fill (if needed) | [6 empty] | DR4 | Helium Level:
DT5 | Rigging job; craine, forklifts, pallet jack, ect... | [6 empty] | DP5 | Ramp down or quench magnet | [6 empty] | DR5 | Magnet Pressure
DT6 | Shchedule rigger, shipper, scrap, ect… | [6 empty] | DP6 | Lock out any power that is not needed | [6 empty] | DR6 | De-install coldhead Lines, Compressor and Main Disconnect
DT7 | Verify and schedule helium (if needed) | [6 empty] | DP7 | Separate customer equipment and cables | [6 empty] | DR7 | Supervise Equipment Removal, Magnet Rig Out.
DT8 | Travel to site | [6 empty] | DP8 | Magnet support cables in magnet; helium, ect | [6 empty] | DR8 | Verify all pallets and equipment are in Shipping Container.
DT9 | Meet site contact and review project | [6 empty] | DP9 | Disconnect magnet mon put cables in magnet | [6 empty] | DR9 | Verify Magnet Secure and S/C Lead Extension is Dis-Engaged
DT10 | Verify magnet and equipment exit paths | [6 empty] | DP10 | Put magmon on top of helium compressor | [6 empty] | DR10 | Magnet Pressure
DT11 | Verify rigger equipment and scheduled time | [6 empty] | DP11 | [7 empty] | DR11 | Sign off Rigger and shipper
DT12 | Verify magnet and system truck scheduled | [6 empty] | DP12 | [7 empty] | DR12 | Delivery Arrival location and time
DT13 | Verify scrap truck (if scrapping magnet) | [6 empty] | DP13 | Disconnect pen panel cables (watch power) | [6 empty] | DR13 | Final Check List
DT14 | Verify supplys, tools and equipment arived | [6 empty] | DP14 | Disconnect all equipment room cables | [6 empty] | DR14 | Items list with stickers
DT15 | Verify helium arived (if needed) | [6 empty] | DP15 | Disconnect all cables from Console area | [6 empty] | DR15 | Everything packaged and wrapped to go with the system
DT16 | Verify system inspection report to quote | [6 empty] | DP16 | Disconnect Magnet Room Cables | [6 empty] | DR16 | Make sure everything gets on the truck and secured so nothing will be damaged
DT17 | Send discrepencies; coils, options, extras, ect | [6 empty] | DP17 | [7 empty] | DR17 | Make sure magnet shim lead is up and record the final helium and pressure reading
DT18 | Review system and error Log | [6 empty] | DP18 | [7 empty] | DR18 | Make sure customer is happy and everything is cleaned up when we leave
DT19 | Run save info, GI and protocols | [6 empty] | DP19 | Bubble wrap cabinets (remove keys) | [6 empty] | DR19 | Helium and pressure
DT20 | Send any issues or problems to manager | [6 empty] | DP20 | One box pallet for equipment room cables | [6 empty] | DR20 | Data Sheets Completed
DT21 | Final scans; Head, body and PA | [6 empty] | DP21 | Build body coil pallet (if needed) | [6 empty] | DR21 | Notes of Follow up Items (Verify that everything is completed)
DT22 | Run dog house to the back of the magnet | [6 empty] | DP22 | One box pallet for magnet room cables and spare parts | [6 empty] | DR22 | Signatures of Completion
DT23 | Remove all CD's, MOD's, and DAT's | [6 empty] | DP23 | One small box console room cables and spare parts | [6 empty] | DR23
DT24 | Shut down the system | [6 empty] | DP24 | [7 empty] | DR24
DT25 | [7 empty] | DP25 | [7 empty] | DR25
DT26 | [7 empty] | DP26 | [7 empty] | DR26
DT27 | [7 empty] | DP27 | [7 empty] | DR27
DT28 | [7 empty] | DP28 | [7 empty] | DR28
DR29
DR30

## Refurbish
Item # | Walk Through (NA, Good, Clean, Fix, Replace, Outsource) | N/G/C/F/R/O | Initals | Notes | Item # | General and Outside | N/A | Initals | Started | Finished | Hours | Notes | Item # | Electrical | N/A | Initals | Started | Finished | Hours | Notes | Item # | Mechanical | N/A | Initals | Started | Finished | Hours | Notes | Item # | Rear Room | N/A | Initals | Started | Finished | Hours | Notes | Item # | Scan Room | N/A | Initals | Started | Finished | Hours | Notes | Item # | Operators Room | N/A | Initals | Started | Finished | Hours | Notes | Item # | Equipment Room | N/A | Initals | Started | Finished | Hours | Notes
MW1 | Keys to front, back, belly doors |  |  |  | MG1 | Matieral ordering and or parts run | [6 empty] | ME1 | RussellStoll power connector | [6 empty] | ML1 | Perform PM on AC's | [6 empty] | MR1 | Ceilings | [6 empty] | MS1 | Ceiling | [6 empty] | MO1 | Main entry door | [6 empty] | ME1 | Entry or sliding doors
MW2 | Licence plate and registration current |  |  |  | MG2 | Planning and or organizing | [6 empty] | ME2 | Shore/generator manual transfer switch | [6 empty] | ML2 | Operation, fluids, pressure and coils AC's | [6 empty] | MR2 | Walls | [6 empty] | MS2 | Walls | [6 empty] | MO2 | Roll door | [6 empty] | ME2 | Side door or hatch
MW3 | Hud sticker on unit |  |  |  | MG3 | Cleaning and putting things away | [6 empty] | ME3 | All power and ground connections | [6 empty] | ML3 | Perform PM on chillers | [6 empty] | MR3 | Floors | [6 empty] | MS3 | Storage cabinets with only nessisary items | [6 empty] | MO3 | Exit path and signs | [6 empty] | ME3 | Exit path and signs marked
MW4 | Exterior paint |  |  |  | MG4 | Keys to front, back, sliding, and belly doors | [6 empty] | ME4 | 12V DC battery and charger/inverter | [6 empty] | ML4 | Operation, fluids, pressure and coils chillers | [6 empty] | MR4 | RF Shielding | [6 empty] | MS4 | Cabinets doors and hardware | [6 empty] | MO4 | Ceiling | [6 empty] | ME4 | Ceiling
MW5 | Decals and wraps |  |  |  | MG5 | Licence plate and registration current | [6 empty] | ME5 | Patient lift and roll door with remote | [6 empty] | ML5 | Humidifier | [6 empty] | MR5 | Steel shielding | [6 empty] | MS5 | Counter tops and sink | [6 empty] | MO5 | Walls | [6 empty] | ME5 | Walls
MW6 | Mobile condition fornt |  |  |  | MG6 | Hud sticker on unit | [6 empty] | ME6 | Mobile trailor connector | [6 empty] | ML6 | Tempurature all rooms AC and heaters | [6 empty] | MR6 | Magnet wall support frame | [6 empty] | MS6 | Floors | [6 empty] | MO6 | Storage cabinets with only necessary items | [6 empty] | ME6 | Storage cabinets with only necessary items
MW7 | AC units |  |  |  | MG7 | All Tire condition and pressure verified | [6 empty] | ME7 | Break, turn, and running lights with covers | [6 empty] | ML7 | Perform PM on lift gate | [6 empty] | MR7 | Magnet mounting holes | [6 empty] | MS7 | Exit path and signs marked | [6 empty] | MO7 | Cabinet doors and hardware | [6 empty] | ME7 | Cabinet doors and hardware
MW8 | Generator |  |  |  | MG8 | All lug nuts and anti-lock breaks checked | [6 empty] | ME8 | Exterior light for entry door | [6 empty] | ML8 | Patient lift greased, hydrolics and motors | [6 empty] | MR8 | Rear door hardware and lock | [6 empty] | MS8 | Scan room door, RF seal and hardware | [6 empty] | MO8 | Counter tops | [6 empty] | ME8 | Phantom cart or shelfs secure
MW9 | Landing gear |  |  |  | MG9 | Fire detection system checked out | [6 empty] | ME9 | AC electrical | [6 empty] | ML9 | Perform PM on generator | [6 empty] | MR9 | Rear door seals and RF mesh | [6 empty] | MS9 | Optional equipment mounted and secure | [6 empty] | MO9 | Floors | [6 empty] | ME9 | Floors
MW10 | Twin I beams and frame |  |  |  | MG10 | 2 current non ferrous fire extinguishers | [6 empty] | ME10 | Chiller electrical | [6 empty] | ML10 | Roll door operation | [6 empty] | MR10 | Top and or side hatch with hardware | [6 empty] | MS10 | Façade and coverings | [6 empty] | MO10 | Computers, moitors and keyboard secure | [6 empty] | ME10 | Equipment cabinets mounted and secure
MW11 | Mobile condition drivers side |  |  |  | MG11 | Roof of mobile clean and not leaking | [6 empty] | ME11 | Humidifier electrical | [6 empty] | ML11 | Generator operation, oil, fuel and guages | [6 empty] | MR11 | Top or side hatch seals and RF mesh | [6 empty] | MS11 | [7 empty] | MO11 | Optional equipment mounted and secure | [6 empty] | ME11
MW12 | Chiller |  |  |  | MG12 | Roof hatch operational and seals | [6 empty] | ME12 | All covers and breaker panels labeled | [6 empty] | ML12 | All covers for AC and generator | [6 empty] | MR12 | Pen pannel and houseing RF and hardware | [6 empty] | MS12 | [7 empty] | MO12 | [7 empty] | ME12
MW13 | All Belly doors |  |  |  | MG13 | Rear or side opening sealed | [6 empty] | ME13 | Exaust fan in rear of mobile operational | [6 empty] | ML13 | Twin I-beams and frame | [6 empty] | MR13 | Vent pipe build and mounting | [6 empty] | MS13 | [7 empty] | MO13 | [7 empty] | ME13
MW14 | All Belly boxes |  |  |  | MG14 | Vent pipe exit screen and deflector | [6 empty] | ME14 | Lights, switches and outlets rear room | [6 empty] | ML14 | Landing gear and suport stands | [6 empty] | MR14 | Patient blower mounting | [6 empty] | MS14 | [7 empty] | MO14 | [7 empty] | ME14
MW15 | All Support stands |  |  |  | MG15 | Exterior paint and body | [6 empty] | ME15 | Lights, switches and outlets scan room | [6 empty] | ML15 | Air bags and axils on mobile | [6 empty] | MR15 | Ladder mounting | [6 empty] | MS15 | [7 empty] | MO15 | [7 empty] | ME15
MW16 | Tires, rims and breaks |  |  |  | MG16 | Exterior rivets and bolts no holes | [6 empty] | ME16 | Lights, switches and outlets operators room | [6 empty] | ML16 | [7 empty] | MR16 | Plate for securing gradient cables on the wall | [6 empty] | MS16 | [7 empty] | MO16 | [7 empty] | ME16
MW17 | Mobile condition rear |  |  |  | MG17 | Top rain guard and corners | [6 empty] | ME17 | Lights, switches and outlets equipment room | [6 empty] | ML17 | [7 empty] | MR17 | [7 empty] | MS17 | [7 empty] | MO17 | [7 empty] | ME17
MW18 | Rear door |  |  |  | MG18 | Belly doors and locks | [6 empty] | ME18 | Lights, switches and outlets belly boxes | [6 empty] | ML18 | [7 empty] | MR18 | [7 empty] | MS18 | [7 empty] | MO18 | [7 empty] | ME18
MW19 | Vent pipe exit |  |  |  | MG19 | Belly boxes | [6 empty] | ME19 | Fire detection or smoke alarms in each room | [6 empty] | ML19 | [7 empty] | MR19 | [7 empty] | MS19 | [7 empty] | MO19 | [7 empty] | ME19
MW20 | Top rain guard and corners |  |  |  | MG20 | Items; wood, phone, network, power cord ect.. | [6 empty] | ME20 | Network cable in belly console to facility (75ft) | [6 empty] | ML20 | [7 empty] | MR20 | [7 empty] | MS20 | [7 empty] | MO20 | [7 empty] | ME20
MW21 | Air bags and air system |  |  |  | MG21 | Awning over lift gate with handle and wrench | [6 empty] | ME21 | Phone cable in belly box (huble connector) | [6 empty] | ML21 | [7 empty] | MR21 | [7 empty] | MS21 | [7 empty] | MO21 | [7 empty] | ME21
MW22 | Exterior lights and break lights |  |  |  | MG22 | Rain deflector at entry door working | [6 empty] | ME22 | All wires and covers cleaned up everywhere | [6 empty] | ML22 | [7 empty] | MR22 | [7 empty] | MS22 | [7 empty] | MO22 | [7 empty] | ME22
MW23 | Top and or side hatch |  |  |  | MG23 | Lift gate and railings with all hardware | [6 empty] | ME23 | [7 empty] | ML23 | [7 empty] | MR23 | [7 empty] | MS23 | [7 empty] | MO23 | [7 empty] | ME23
MW24 | Outside roof of mobile |  |  |  | MG24 | Stairs and railings with all hardware | [6 empty] | ME24 | [7 empty] | ML24 | [7 empty] | MR24 | [7 empty] | MS24 | [7 empty] | MO24 | [7 empty] | ME24
MW25 | Ceiling rear room |  |  |  | MG25 | [7 empty] | ME25 | [7 empty] | ML25 | [7 empty] | MR25 | [7 empty] | MS25 | [7 empty] | MO25 | [7 empty] | ME25
MW26 | Lights rear room |  |  |  | MG26 | [7 empty] | ME26 | [7 empty] | ML26 | [7 empty] | MR26 | [7 empty] | MS26 | [7 empty] | MO26 | [7 empty] | ME26
MW27 | Outlets and switches rear room |  |  |  | MG27 | [7 empty] | ME27 | [7 empty] | ML27 | [7 empty] | MR27 | [7 empty] | MS27 | [7 empty] | MO27 | [7 empty] | ME27
MW28 | Walls rear room |  |  |  | MG28 | [7 empty] | ME28 | [7 empty] | ML28 | [7 empty] | MR28 | [7 empty] | MS28 | [7 empty] | MO28 | [7 empty] | ME28
MW29 | Steel shielding |  |  |  | MG29 | [7 empty] | ME29 | [7 empty] | ML29 | [7 empty] | MR29 | [7 empty] | MS29 | [7 empty] | MO29 | [7 empty] | ME29
MW30 | Magnet wall suport frame |  |  |  | MG30 | [7 empty] | ME30 | [7 empty] | ML30 | [7 empty] | MR30 | [7 empty] | MS30 | [7 empty] | MO30 | [7 empty] | ME30
MW31 | Magnet mounting holes
MW32 | Flooring rear room
MW33 | Mobile condition passanger side
MW34 | Lift gate
MW35 | Roll up or sliding door
MW36 | Awning over lift gate
MW37 | Stairs
MW38 | Railings
MW39 | Front door
MW40 | Ceiling operators room
MW41 | Lights operators room
MW42 | Outlets and switches operators room
MW43 | Walls operators room
MW44 | Cabinets operators room
MW45 | Countertops operators room
MW46 | Flooring operators room
MW47 | Scan room door
MW48 | Ceiling scan room
MW49 | Lights scan room
MW50 | Outlets and switches scan room
MW51 | Walls scan room
MW52 | Cabinets scan room
MW53 | Countertops scan room
MW54 | Flooring scan room
MW55 | Sink
MW56 | Equipment room door
MW57 | Ceiling equipment room
MW58 | Lights equipment room
MW59 | Outlets and switches equipment room
MW60 | Walls equipment room
MW61 | Cabinets equipment room
MW62 | Flooring equipment room
MW63
MW64
MW65

## Install
Item # | Shipping and rigging | N/A | Initals | Started | Finished | Hours | Notes | Item # | Physical and power up | N/A | Initals | Started | Finished | Hours | Notes | Item # | Ramp shim and cals | N/A | Initals | Started | Finished | Hours | Notes | Item # | Finalization and follow up | N/A | Initals | Started | Finished | Hours | Notes
IS1 | Prep magnet and system for shipping | [6 empty] | IP1 | Mount magnet into place | [6 empty] | IC1 | Delivery of helium and tools | [6 empty] | IF1 | Verify system operation with no errors
IS2 | Load magnet and system on truck | [6 empty] | IP2 | Install vent pipe | [6 empty] | IC2 | Check for metal and place magnet signs | [6 empty] | IF2 | Verify table and dog house functionality
IS3 | Verify that everything is secure on truck | [6 empty] | IP3 | Install pen panel | [6 empty] | IC3 | Fill magnet to above 90% helium | [6 empty] | IF3 | Verify coils on site with coils on quote
IS4 | Travel to site location | [6 empty] | IP4 | Install Magnet monitor | [6 empty] | IC4 | De-ice and verify connections | [6 empty] | IF4 | Verify table, coil, positioning pads and straps
IS5 | Waiting and or verify everything is ready | [6 empty] | IP5 | Helium level and pressure | [6 empty] | IC5 | Ramp magent following procedure | [6 empty] | IF5 | Verify options and extra equipment installed
IS6 | Unlaod magnet and system from truck | [6 empty] | IP6 | Hook up coldhead compresor | [6 empty] | IC6 | Put in LBK shim currents | [6 empty] | IF6 | Verify network, worklist and or camera
IS7 | Sign off on shipping and rigger | [6 empty] | IP7 | Compressor hours and pressure | [6 empty] | IC7 | Fix any issues with trying to scan | [6 empty] | IF7 | Verify manuals, MODs and save info
IS8 | Verify that magnet is running | [6 empty] | IP8 | Send magnet and compressor readings | [6 empty] | IC8 | Guided install configuration of tabs | [6 empty] | IF8 | Verify Communication log book on site
IS9 | Check for any damage or missing componets | [6 empty] | IP9 | Order and schedule helium for ramp | [6 empty] | IC9 | Find center frequancy and first image | [6 empty] | IF9 | Verify all data sheets are completed on site
IS10 | Verify cable lengths are long enough | [6 empty] | IP10 | Move all equipment into place | [6 empty] | IC10 | Forward reverse quaduture | [6 empty] | IF10 | Verify everything is cleaned up and put away
IS11 | Show customer importants of magnet monitor | [6 empty] | IP11 | Check for any damage or missing componets | [6 empty] | IC11 | Geometric verification | [6 empty] | IF11 | List anything missing or needs follow up
IS12 | Contact info and access to the site | [6 empty] | IP12 | Coils, phantoms, pads, software, books | [6 empty] | IC12 | Auto L-coil and DC off-sets | [6 empty] | IF12 | Final list of all parts used on system
IS13 | [7 empty] | IP13 | LBK currents and Magnet Serial # | [6 empty] | IC13 | Rough shim until everything is under 50hz | [6 empty] | IF13 | Final head, body and phased array scan
IS14 | [7 empty] | IP14 | Order and cables or missing equipment | [6 empty] | IC14 | Passive shim magnet (if needed) | [6 empty] | IF14 | Show customer importants of magnet monitor
IS15 | [7 empty] | IP15 | Verify contractors work is completed | [6 empty] | IC15 | Iso center and gradient cals (zoom if Twin) | [6 empty] | IF15 | Verify patient scans with customer
IS16 | [7 empty] | IP16 | Install Magnet ERU | [6 empty] | IC16 | Run grafidy (zoom if twin) | [6 empty] | IF16 | Turn system over to the customer and sign off
IS17 | [7 empty] | IP17 | Install cables in magnet room | [6 empty] | IC17 | Re-run auto L-coil, DC off-sets | [6 empty] | IF17 | Final walk through that everything is done
IS18 | [7 empty] | IP18 | Install cables in equipment room | [6 empty] | IC18 | Re-run Iso center and grad cals (zoom if twin) | [6 empty] | IF18 | Follow up on anything outstanding on list
IS19 | [7 empty] | IP19 | Install cables in console room | [6 empty] | IC19 | Final supercon shim (all in spec at 4psi) | [6 empty] | IF19 | Applications scheduled with customer
IS20 | [7 empty] | IP20 | Verify cable map and connections | [6 empty] | IC20 | Final gradient shim (zoom if twin) | [6 empty] | IF20 | Follow up after applications or a few days
[8 empty] | IP21 | Verify all power and ground connections | [6 empty] | IC21 | System gain cals for head and body | [6 empty] | IF21
[8 empty] | IP22 | Measure input power | [6 empty] | IC22 | Echo Planner Imaging head and body (EPT) | [6 empty] | IF22
[8 empty] | IP23 | Verify correct phasing of equipment | [6 empty] | IC23 | Final iso center and gradient cals | [6 empty] | IF23
[8 empty] | IP24 | Turn on one breaker at a time and measure | [6 empty] | IC24 | Check multicoil scans on all recevers | [6 empty] | IF24
[8 empty] | IP25 | Fix any errors or issues on system power up | [6 empty] | IC25 | Verify center frequency and re-park if needed | [6 empty] | IF25
[8 empty] | IP26 | Run head and body noise scans check ROIs | [6 empty] | IC26 | DWI white noise checks in all directions
[8 empty] | IP27 | Install all covers and dress cables | [6 empty] | IC27 | Check system for ghosting and artifacts
[8 empty] | IP28 | Table and bridge level and operational | [6 empty] | IC28 | Run SNR on all coils
[8 empty] | IP29 | Patient alert, belows, EKG operational | [6 empty] | IC29 | Network, PACS, worklists and camera
[8 empty] | IP30 | Bore lights and patient fan | [6 empty] | IC30 | Make a save INFO, save GI and protocols
[8 empty] | IP31 | Patient fan and blower mounted and secure | [6 empty] | IC31 | Copy all data sheets for site and office
[8 empty] | IP32 | Gradient chiller fluid level, flow and temp | [6 empty] | IC32 | Clean up everything for turn over to customer
[8 empty] | IP33 | Compressor chiller fluid level, flow and temp | [6 empty] | IC33
[8 empty] | IP34 | Emergency stops and emergency offs | [6 empty] | IC34
[8 empty] | IP35 | Magnet signs and gauss line excusions | [6 empty] | IC35
[8 empty] | IP36 | Network setup and configurations | [6 empty] | IC36
[8 empty] | IP37 | Optional equipment; stereo, injector, ect… | [6 empty] | IC37
[8 empty] | IP38 | [7 empty] | IC38
[8 empty] | IP39 | [7 empty] | IC39
[8 empty] | IP40 | [7 empty] | IC40

## Log sheet
SwMR Task Log sheet
Location ID | Item or part # | Initals | Date | hours | Description/notes

## Old-De
De-Install Template
Project ID | Job | MRI saving magnet Tasks | Estimated hrs | Actual hrs | Initals | CT Tasks | PET Tasks | Estimated hrs | Actual hrs | Initals
Project Name
Pre-site Inspection
|  | Complete system inspection report |  |  |  | Schedule inspection
|  | Verify helium level and pressure (schedule fill if needed) |  |  |  | Verify equipment and Gantry exit paths
|  | Verify magnet and equipment exit paths and sizes |  |  |  | Verify system operation, tube hrs, options and any errors
|  | Schedule start date and rig out date of system |  |  |  | Verify system against sales quote
Schedule rig out date
Verify all dollies and moving equipment shipped
Verify packing supplies and or U-line Shipment
Verify fork Lift and or tow truck for Gantry and equipment
Verify truck scheduled and rig out time
| Site readiness | Verify fork lift and or craine for magnet |  |  |  | Verify you have all tools and equipment needed
Verify fork lift and pallet jack for pallets
Verify access and work hours to get it done
Identify any posible issues and work through them
Verify system operation, tube hrs, options and any errors
Verify save state, options MODs or DVDs and manuals
Lock out tag out procedure with facility
Disconnect all cables from console area
Disconnect all cables from scan room
Disconnect all cables from equipment room (if applicable)
| Pre Shipping |  |  |  |  | Warp and package all cables and equipment
|  | Verify U-line and packing shipment |  |  |  | Separate any extras and optional equipment
Verify ramp down kit, bars, helium and or tools arival
|  | Verify magnet and system truck scheduled |  |  |  | Cordinate equipment removal and gantry rig out
|  | Verify scrap truck (if scrapping magnet) |  |  |  | Verify gantry and table are locked and lowered onto the floor
|  | Verify body coil pallet or tools to buidl pallet |  |  |  | Verify all pallets and equipment is secured in shipping container
Verify magent and equipment delivery Location
Sign off on rigging equipment and shipper
Verify delivery location and arival date
Verify complete system was received and in good condition
System Functional Checks
De-commission system
Check Vent Pipe integrity and exit path, warn everyone in area, Check Helium and Pressure
Setup Ramp down Kit and ramp down magnet per proper GE ramp down procedure for specific magnet
Physical de-install
Verify system Coil List for system, extra Equipment list
Introduce – Talk to Radiology Manager/ Director; Get Emergency /Contact Number; After hours access
Radiology Manager
Phone Number
After Hours Access Key
After Hours Access Code
Get Tools and Supplies
Ramp down kit, Cables, probes, hold down tool
Uline shipment; pallets, bubble wrap, shrink wrap
Identify Magnet exit path, any problems, steel beams, window cracks, height, width, corners, and or soft ground
Verify with Rigger
Identify Equipment exit path, doorways, raised floor, loading dock, pallet jack access, staging area
Chiller locations
De-Cable and Package
Saving Magnet (leave Helium PPJ10 and Pressure PPJ48 cables connected)
Disconnect cables and equiptment
Separate out any equipment and cables customer is keeping (injectors, stereos, ect....)
Disconnect all cables from upper part of pen pannel, both sides (watch for coldhead power on bottom, if it is running)
Disconnect all cables from Cabinets (Systems, RF, Gradient, Gram, PDU, or Variations.....)
Disconnect all cables from Console area
Disconnect all cables from Magnet Room (cover inside of bore and put gradient cables and hose inside)
Leave Magnet Monitor or helium meter connected when possible (if in systems cabinet remove and put with magnet)
Packaging
Wrap cabinet corners with large bubble wrap and shrink wrap over them (remove keys and tape to back of cabinets)
Try to keep cables separate in boxes
One box pallet for equipment room cables and spare parts
One box pallet for magnet room cables and spare parts
One small box console room cables and spare parts
Rig out
Two Hours before Riggers /Crane - Turn off Coldhead, De-install Lines, Compressor and Main Disconnect
Helium Level:
Magnet Pressure
De-install coldhead Lines, Compressor and Main Disconnect
Supervise Equipment Removal, Magnet Rig Out.
Verify all pallets and equipment are in Shipping Container.
Verify Magnet Secure and S/C Lead Extension is Dis-Engaged
Magnet Pressure
Sign off Rigger
Sign off Shipper
Delivery Location
Delivery Arrival Date
Delivery Arrival Time
Street Adress
City
State
Zip Code
Final Report
Final Check List
Items list with stickers
Everything packaged and wrapped to go with the system
Make sure everything gets on the truck and secured so nothing will be damaged
Make sure magnet shim lead is up and record the final helium and pressure reading
Make sure customer is happy and everything is cleaned up when we leave
Helium
Pres.
Date
Time
Data Sheets Completed
Ramp down
Cryogen fill
System Inspection Form
De-install final report
Notes of Follow up Items (Verify that everything is completed)
Signatures of Completion

## Old-Re
Mobile Template
Project ID | Job | MRI Mobile Tasks | Estimated hrs | Actual hrs | Initals | CT Mobile Tasks | Estimated hrs | Actual hrs | Initals | PET Mobile Tasks | Estimated hrs | Actual hrs | Initals
Project Name
Walk Through
Exterior Paint
Lift Gate
Stairs
Railings
Front Door
Rear Door
Belly Doors
Roll up or Sliding Door
Magnet Room Door
Equipment Room Door
Top Hatch
Outside roof of mobile
Ceiling Magnet room
Ceiling Operators room
Ceiling Equipment room
Lights Magnet room
Lights Operators room
Lights Equipment room
Walls Magnet room
Walls Operators room
Walls Equipment room
Cabinets Magnet room
Cabinets Operators room
Cabinets Equipment room
Countertops Magnet room
Countertops Operators room
Sink
Flooring Magnet room
Flooring Operators room
Flooring Equipment room
Extra Keys to front door, Back door, belly boxes, and lift gate door
Licence Plate current tags and registration for mobile
Hud sticker on unit
Twin I-beam, landing legs, and support stands on chassis (check for cracks or damage)
Verify tire tread, wear, and pressure check that lug nuts are all there, Anti-lock brakes (if available)
Condition of roof, roof hatch and magnet exit
Electrical
Condition of RussellStoll power connector, cable secure and lugs tight
Check all power and ground connections, all covers and breaker panels labeled and secure
Check 12V DC battery and charger/inverter
AC and Chillers
Clean Coils
Check and adjust fluid levels
Generator
Previous check sheet
Condition of RussellStoll power connector, cable secure and lugs tight
Check all power and ground connections, all covers and breaker panels labeled and secure
Check 12V DC battery and charger/inverter with 12V circuit breaker panel and master switch
|  | , all seals and RF mesh in place |  |  |  | Working condition of HVAC units, coils cleaned and system PM complete everything in spec
|  | Working condition of HVAC units, coils cleaned and system PM complete everything in spec |  |  |  | Check working condition of A/C and heater in equipment, operator and magnet rooms
|  | Check working condition of A/C and heater in equipment, operator and magnet rooms |  |  |  | Twin I-beams, landing legs, and support stands on chassis (check for cracks or damage)
Verify tire tread, wear, and pressure check that lug nuts are all there, Anti-lock brakes (if available)
Condition of roof, roof hatch and gantry exit, all seals and Lead lining in place
Fire detection system and current fire extinguisher installed in at least 2 locations
|  | Fire detection system and current non ferrous fire extinguisher installed in at least 2 locations |  |  |  | Optional equipment mounted and secure, Injector system, stereo system, camera, etc.
|  | Optional equipment mounted and secure, Injector system, stereo system, camera, etc. |  |  |  | Optional equipment all working and operational with everything included with them
|  | Optional equipment all working and operational with everything included with them |  |  |  | Check diesel fuel level and generator operation, verify condition
|  | Check diesel fuel level and generator operation, verify condition |  |  |  | Check shore/generator manual transfer switch
Check store/generator manual transfer switch
| Exterior Condition Front |  |  |  |  | Paint and body clean, no dents, rust or scratches and in good condition
|  | Paint and body clean, no dents, rust or scratches and in good condition |  |  |  | Welding, riveting and bolts on exterior all in place no holes, all covers in place for AC and generator
|  | Welding, riveting and bolts on exterior all in place no holes, all covers in place for AC and generator |  |  |  | Air break and electrical connectors in good condition, all running lights and covers on
Air break and electrical connectors in good condition, all running lights and covers on
| Exterior Condition Street Side |  |  |  |  | Paint and body clean, no dents, rust or scratches and in good condition
|  | Paint and body clean, no dents, rust or scratches and in good condition |  |  |  | Welding, riveting and bolts on exterior all in place no holes, top rain guard and corners look good
|  | Welding, riveting and bolts on exterior all in place no holes, top rain guard and corners look good |  |  |  | Running lights and turn signal covers on and working, leveling feet and pads all there and in place
|  | Running lights and turn signal covers on and working, leveling feet and pads all there and in place |  |  |  | Lower storage doors check for corrosion, leakage and door locks working, clean and look good
|  | Lower storage doors check for corrosion, leakage and door locks working, clean and look good |  |  |  | Lower storage bays cleaned out, only necessary items; leveling wood, phone, network and power cords
Lower storage bays cleaned out, only necessary items; leveling wood, phone, network and power cords
| Exterior Condition Rear |  |  |  |  | Paint and body clean, no dents, rust or scratches and in good condition
|  | Paint and body clean, no dents, rust or scratches and in good condition, vent pipe exit screen and deflector |  |  |  | Welding, riveting and bolts on exterior all in place, rear door hardware, lock, and lead good and clean
|  | Welding, riveting and bolts on exterior all in place, rear door hardware, lock, and RF seal good and clean |  |  |  | All break and running light covers on and operational, license plate in place with current tags
All break and running light covers on and operational, license plate in place with current tags
| Exterior Condition Curb Side |  |  |  |  | Paint and body clean, no dents, rust or scratches and in good condition
|  | Paint and body clean, no dents, rust or scratches and in good condition |  |  |  | Welding, riveting and bolts on exterior all in place no holes, top rain guard and corners look good
|  | Welding, riveting and bolts on exterior all in place no holes, top rain guard and corners look good |  |  |  | Running lights and turn signal covers on and working, leveling feet and pads all there and in place
|  | Running lights and turn signal covers on and working, leveling feet and pads all there and in place |  |  |  | Lower storage doors check for corrosion, leakage and door locks working, clean and look good
|  | Lower storage doors check for corrosion, leakage and door locks working, clean and look good |  |  |  | Lower storage bays cleaned out, only necessary items; leveling wood, phone, network and power cords
|  | Lower storage bays cleaned out, only necessary items; leveling wood, phone, network and power cords |  |  |  | Awning over lift gate operational and clean, awning handle and emergency wrench in storage place
|  | Awning over lift gate operational and clean, awning handle and emergency wrench in storage place |  |  |  | Patient lift and roll door working properly with both remote and panel controls
|  | Patient lit and roll door working properly with both remote and panel controls |  |  |  | Lift gate railings secure with all hardware and working properly, everything clean with caution markings
|  | Lift gate railings secure with all hardware and working properly, everything clean with caution markings |  |  |  | Aluminum stair assembly stable with rails and all bolts or hardware
|  | Aluminum stair assembly stable with rails and all bolts or hardware |  |  |  | Main entry door and Emergency exit door hardware working (exit signs and path marked)
|  | Main entry door and Emergency exit door hardware working (exit signs and path marked) |  |  |  | Exterior light and rain deflector drip rail at entry door in place and working
Exterior light and rain deflector drip rail at entry door in place and working
| Operators Room |  |  |  |  | Floor clean and in good condition, computers or cabinets mounted with nothing else on floors
|  | Floor clean and in good condition, computers or cabinets mounted with nothing else on floors |  |  |  | Counter tops clean and in good condition, everything on them mounted or secure for moving
|  | Counter tops clean and in good condition, everything on them mounted or secure for moving |  |  |  | Condition of storage cabinets, everything cleaned with only necessary items
|  | Condition of storage cabinets, everything cleaned with only necessary items |  |  |  | Current save state, MOD options and manuals, folder with all data sheets and log book in cabinet
|  | Current save Info, MOD options and manuals, folder with all data sheets and log book in cabinet |  |  |  | Ceilings clean and in good condition, smoke alarm or fire detection working
|  | All lights, outlets and switches working, cover plates on in good condition and no exposed wires |  |  |  | Conditions of wall coverings, holes patched and walls clean in good condition
|  | Ceilings clean and in good condition, smoke alarm or fire detection working |  |  |  | All cables routed correctly, zip tied, clean and secured in place with service loops where needed
Conditions of wall coverings, holes patched and walls clean in good condition
|  | All cables routed correctly, zip tied, clean and secured in place with service loops where needed |  |  |  | Floor clean and in good condition, cabinets mounted, phantoms in holders with nothing else on floors
| Equipment Room |  |  |  |  | All equipment and items in cabinets mounted and secured, covers on and doors locked
|  | Floor clean and in good condition, cabinets mounted, phantoms in holders with nothing else on floors |  |  |  | Condition of storage cabinets, everything cleaned with only necessary items
|  | All equipment and items in cabinets mounted and secured, covers on and doors locked |  |  |  | All lights, outlets and switches working, cover plates on in good condition and no exposed wires
|  | Condition of storage cabinets, everything cleaned with only necessary items |  |  |  | Ceilings clean and in good condition, smoke alarm or fire detection working
|  | All lights, outlets and switches working, cover plates on in good condition and no exposed wires |  |  |  | Conditions of wall coverings, holes patched and walls clean in good condition
|  | Ceilings clean and in good condition, smoke alarm or fire detection working |  |  |  | All cables routed correctly, zip tied, clean and secured in place with service loops where needed
Conditions of wall coverings, holes patched and walls clean in good condition
|  | All cables routed correctly, zip tied, clean and secured in place with service loops where needed |  |  |  | Floor clean and in good condition, anything on floors secured and clean
| Magnet Room |  |  |  |  | Magnet covers, table, coils, pads and phantoms all cleaned and stored in a secure location
|  | Floor clean and in good condition, anything on floors secured and clean |  |  |  | Ceilings clean and in good condition, smoke alarm or fire detection working
|  | Magnet covers, table, coils, pads and phantoms all cleaned and stored in a secure location |  |  |  | Conditions of wall coverings, holes patched and walls clean in good condition
|  | Ceilings clean and in good condition, smoke alarm or fire detection working |  |  |  | All electrical outlets, light switches and e-stop cover plates in place and clean
|  | Conditions of wall coverings, holes patched and walls clean in good condition |  |  |  | All cables routed correctly, zip tied, clean and secured in place with service loops where needed
All electrical outlets, light switches and e-stop cover plates in place and clean
|  | All cables routed correctly, zip tied, clean and secured in place with service loops where needed |  |  |  | Verify PMs done on Unit and Chillers
|  | Pen panel, patient blower and rear pedistool in place and secured, covers and door in good condition |  |  |  | Secure Keyboard, monitor and mouse put away and anything on counters
|  | Vent pipe in place and secured with vent glass, exhaust fan operational |  |  |  | Secure Gantry, table phantoms and covers
| Final Checks Before Moving Mobile |  |  |  |  | Check license plate, tags, registration and HUD are on vehicle
Verify PMs done on Unit and Chillers
Secure Keyboard, monitor and mouse
Bungee magnet covers
Lower table, lock wheels and make sure it is secure
Check license plate, tags, registration and HUD are on vehicle
Check to make sure shim lead is up
Check Helium Level and Pressure

## Old-In
Install Template
Project ID | Job | MRI Tasks |  |  |  | Job | CT Tasks |  |  |  | Job | PET Tasks
Project Name |  |  | Estimated hrs | Actual hrs | Initals |  |  | Estimated hrs | Actual hrs | Initals |  |  | Estimated hrs | Actual hrs | Initals
| Pre-site Inspection |  |  |  |  | Pre-site Inspection |  |  |  |  | Pre-site Inspection
|  | Verify room dimentions |  |  |  |  | Schedule inspection
|  | Magnet and equipment entrance path |  |  |  |  | Verify equipment and Gantry exit paths
|  | Equipment location and clearance |  |  |  |  | Verify system operation, tube hrs, options and any errors
|  | Magnet mounting and seismic |  |  |  |  | Schedule rig out date
480V power and chiller
| Staging |  |  |  |  | Staging |  |  |  |  | Staging
Clean and paint any damaged covers
Clean and paint table and equipment
Clean filters and cabinets
Re-package system to be delivered to site
| Site readiness | Verify site power connected to main disconnect panel |  |  |  | Site readiness |  |  |  |  | Site readiness
Verify site water and or chiller running with hose barb connections
Verify with contractor opening for magnet and equipment
Verify scheduled rigging company ready and outline of job
| Shipping |  |  |  |  | Shipping |  |  |  |  | Shipping
|  | Stage and verify all equipment is clean ready and packed |  |  |  |  | System cleaned up and staged for shipping
|  | Load equipment and magnet on truck |  |  |  |  | All dollies and moving equipment with system
|  | Sign off that everything is on and secured |  |  |  |  | Load system and equipment on truck
| System Delivery |  |  |  |  | System Delivery | Verify fork Lift and or tow truck for Gantry and equipment |  |  |  | System Delivery
|  | Move Magnet into place and mount down |  |  |  |  | Verify packing supplies and or U-line Shipment
|  | Hook up coldhead compresor |  |  |  |  | Verify everything on truck and sign off
Install vent pipe
Verify helium level and pressure
Check for any damage or missing componets
Unload all equipment from truck and sign off
Move all equipment into place
Install pen panel
Install Magnet monitor and ERU
Verify cable lengths
Check for any damage or missing componets
| Physical Installation |  |  |  |  | Physical Installation |  |  |  |  | Physical Installation
Verify contractors completed and or out of the way
Install cables in magnet room
Install cables in equipment room
Install cables in console room
Verify cable map and connections
List and order any needed cables or parts
| Power Up |  |  |  |  | Power Up |  |  |  |  | Power Up
Verify all power and ground connections
Make sure all breakers are turned off to equipment and the main.
Measure input power before turning on each breaker
Verify correct phasing of equipment
Fix any error or issues to get the system powered up all the way
Run head and body noise scans to check ROIs
Install all covers and dress cables
Verify table and bridge level and operational
Verify patient alert, belows, EKG operational
Verify Bore lights and patient fan operational
Verify compressor and gradient chiller fluid level and temp
Verify emergency stops and emergency offs
Verify magnet signs and gauss line excusions
Verify network setup and configurations
Verify optional equipment; stereo, injector, ect…
List and order any needed coils, phantoms, pads, software, books or parts
Verify LBK currents and Magnet Serial #
Verify that cryogen are ordered and when to start calibrations
Record Magnet and compressor Readings
| Calibrations |  |  |  |  | Calibrations |  |  |  |  | Calibrations
| System Final Installation |  |  |  |  | System Final Installation |  |  |  |  | System Final Installation