| - Incident Date |  |
| --- | --- |
| - System ID or Device ID |  |
| - Who was involved in the incident? (STAFF, PATIENT or Field Engineer) |  |
| - Was anyone between the ferrous object and the magnet/bore when the incident occurred? (Yes or no) |  |
| - Did any injury occur as a result of this incident, either directly or indirectly? (Yes or no) Who was injured? (Staff, Patient, and/or FE) If an injury occurred, Detail the extent of the injury. Was medical treatment received? (Yes or no) If yes to medical treatment, please describe: | Age: Weight: Gender: |
| - Describe the ferrous object that was attracted to the magnet/bore. |  |
| - Has the ferrous object been removed from the magnet/bore? (Yes or no) |  |
| - Has the individual(s) involved been trained in magnet safety? (Yes or no) |  |
| - Was the security zone warning sign posted to the entry of the magnet room? (Yes or no) |  |
| - Does the site have the MR Operator Manual? (Yes or no) |  |

Information in regard to Magnetic Fields and Ferromagnetic objects should be reviewed in your GE Healthcare Operator Manual.

| The information provided within this form has been reviewed by a representative of the GEHC MR CHU: | Print Name | Initials | SSO# | Date: |
| --- | --- | --- | --- | --- |