Toshiba Vantage/Titan PM

Quiz

- Describe the steps to view system configurations.

- What is the root password?

- It’s not on the PM check sheet…. What should be done every PM, using a Big White Phantom?

- Where would you find the network setup?

- Customer calls and says “Power went out, and patient is in the bore.”, How do they pull the patient out?

- When doing T2 star adjustment, you are trying to get the curve below ______ ms.

- How do you check the temperature of the OLP1, OLP2, OLP3, Gantry, and Rear Bird (DMYLD)?

- What is the Utilities password?

- What manual has all the PM procedures and how often they should be done?

- Where would you find all the installed/site RF coils SNR and specifications for passing SNR?

- Describe the procedure for doing T2 star adjustment.

- What does T2 star adjustment help solve or prevent? What is the reason for doing T2 star?

- Describe the procedure for doing a system backup.

- Where would you find the TG for scans you performed? How do you display more info?

- Customer Has a problem getting the system to scan. Looks like they lost center frequency. How can they see the center frequency? How can they manually adjust center frequency?