## Sheet1
Kit# | Description | Quantity | Need | Location | SMR Barcode | Notes
KIT001 | HIGH PRESSURE REGULATOR | 3 | 1 |  |  | (one in rhode Island)
KIT002 | LOW PRESSURE REGULATOR | 1 |  |  |  | (have some in fill kits)
KIT003 | MANUAL LAKESHORE METER (DT500) | 1 |  |  |  | (we should have more?)
KIT004 | LAKESHORE METER KIT (Si410 and DT500) | 2 | 1 |  |  | (Need to see who has one?)
KIT005 | LCC RECONDENSOR/TEMPERATURE MONITOR | 1
KIT006 | COLDHEAD CHANGE KIT | 2 | 1 |  |  | (need to fix 3rd one)
KIT007 | LINE PRESSURE VACUUM KIT | 1
KIT008 | HELIUM FILL ACCESSORY KIT | 1 | 1
KIT009 | SHORT FILL LINE HELIUM KIT | 3
KIT010 | LONG FILL LINE HELIUM KIT | 2
KIT011 | NITROGEN FILL KIT | 1
KIT012 | DE-ICE KIT | 1 | 1 |  |  | (need to make more)
KIT013 | MAGNET WARMING KIT | 1 |  |  |  | (need to put into a kit)
KIT014 | MAGNET VACCUM DOWN KIT |  | 1 |  |  | (have pump, need to put together)
KIT015 | SERVICE AND SAVCON RE-SEAT KIT | 1 | 1 |  |  | (need to make into kit)
KIT016 | GAUSS METER KIT | 1
KIT017 | MAGNETOMETER KIT | 1 | 1 |  |  | (need at least one more)
KIT018 | RAMP PROBE KIT | 3 | 2 |  |  | (building kits now)
KIT019 | RAMP AND SHIM CABLE KIT | 2 | 1
KIT020 | SHIM CABLE KIT | 2
KIT021 | HFO RAMP CABLE KIT | 1
KIT022 | MR RAMP DOWN KIT | 1 | 1 |  |  | (need to build one)
KIT023 | RAMP SUPPLY | 1 | 1 |  |  | (need to make one)
KIT024 | SHIM SUPPLY | 1 | 1 |  |  | (need to make one)
KIT025 | RAMP AND SHIM SUPPLY COMBO | 2 |  |  |  | (one in pieces possible to fix)
KIT026 | GRAFIDY KIT .5T (5x-9x) | 1
KIT027 | HFO GRAFIDY KIT - 6 coil (.7T) | 1 | 1 |  |  | (need to fix samples and test for Excite?)
KIT028 | GRAFFIDY KIT 1.0T (5x-9x) | 1
KIT029 | GRAFIDY KIT 1.5 (5x-12x) | 2 |  |  |  | (Need to fix one not working good)
KIT030 | GRAFIDY KIT 1.5 - 6 coil (12x-20x) |  | 1 |  |  | (need; samples, MUX board and Hypertronics con)
KIT031 | GRAFIDY KIT 3T - 2 coil (11x-12x) | 1
KIT032 | GRAFIDY KIT 3T - 6 coil (12x) |  | 1 |  |  | (need samples, working with Chuck now)
KIT033 | GRAFIDY KIT 3T - 6 coil (12x-20x) |  | 1 |  |  | (need; samples, MUX board and Hypertronics con)
KIT034 | PASSIVE SHIM CAMERA | 1
KIT035 | PASSIVE SHIM ALLIGNMENT KIT (1.5T and 3T) | 1
KIT036 | PLOTTING FIXTURE KIT | 3
KIT037 | HFO PASSIVE SHIM FIXTURE | 1
KIT038 | HFO PASSIVE SHIM DISKS KIT | 2
KIT039 | LCC BODY COIL REMOVAL KIT | 2
KIT040 | BODY COIL WHEEL KIT | 2
KIT041 | BODY COIL ROTATOR KIT | 1
KIT042 | BODY COIL CART | 3
KIT043 | MAGNET SKATE/JACK KIT | 1
KIT044 | INSTALL/DE-INSTALL KIT | 1 | 1 |  |  | Need another power tool kit, can buy?
KIT045 | LARGE CRIMPER KIT | 1 | 1 |  |  | (had two, need to find?)
KIT046 | NON-MAGNETIC GRADIENT CABLE CRIMPER | 1
KIT047 | RF DUMMY LOAD KIT | 1 | 1 |  |  | (need T attenuator piece, will get scott to source)
KIT048 | OSCILLOSCOPE | 2
KIT049 | MRI HERO KIT | 1
KIT050 | TPSRF SERVICE KITS
KIT051 | GRAD CALIBRATION PHANTOM KIT
KIT052 | DYNAMIC DISABLE SWITCH TOOL KIT
KIT053 | COIL TUNING EXTENSION CABLE KIT
KIT054 | RF DOOR SEAL REPAIR KIT
KIT055 | RDU NETBOOK KIT | 1 | 1 |  |  | We had two?
KIT056 | MAGNET MONITOR KIT | 1 | 3 |  |  | (need to build more cables
KIT057 | HIOKI METER KIT | 1
KIT058 | 3M SERVICE VAUUM KIT |  | 2 |  |  | Need more vaccum kits
KIT059 | CT HOIST KIT | 1 | 1 |  |  | Need at least one more