## Sheet1
Kit# | Description | Quantity | Need | Location | SMR Barcode | Notes
KIT001 | HIGH PRESSURE REGULATOR | 3 | 1 | SMR1-001-1B-A-02 | SMR1000015570 ; SMR1000015571 ; SMR1000015572 | (one in rhode Island)
KIT002 | LOW PRESSURE REGULATOR | 1 |  | SMR1-001-1B-A-02 | SMR1000015573 | (have some in fill kits)
KIT003 | MANUAL LAKESHORE METER (DT500) | 1 |  | SMR1-001-1B-A-02 | SMR1000015574 | (we should have more?)
KIT004 | LAKESHORE METER KIT (Si410 and DT500) | 2 | 1 | SMR1-001-1B-A-02 | SMR1000015575 ; SMR1000015576 | (Need to see who has one?) /one in 1.0T CX Mobile
KIT005 | LCC RECONDENSOR/TEMPERATURE MONITOR | 1 |  | SMR1-001-1B-A-02 | SMR1000015577
KIT006 | COLDHEAD CHANGE KIT | 2 | 1 | SMR1-001-1B-A-01 | SMR1000015578 ; SMR1000015579 | (need to fix 3rd one)
KIT007 | LINE PRESSURE VACUUM KIT | 1 |  | SMR1-001-1B-A-02 | SMR1000015580
KIT008 | CRYO FILL ACCESSORY KIT | 1 | 1 | SMR1-001-1B-A-02 | SMR1000015581
KIT009 | SHORT FILL LINE HELIUM KIT | 3 |  | SMR1-001-1B-A-06 ; SMR1-001-1B-A-08 ; SMR1-001-1B-A-08 | SMR1000015582 ; SMR1000015583 ; SMR1000015584 | LINES STORED SEPERATLEY NEED 3 HEAT GUNS , GLOVES & ELECTRIC CORDS
KIT010 | LONG FILL LINE HELIUM KIT | 2 |  | SMR1-001-1B-A-07 ; SMR1-001-1B-A-07 | SMR1000015585 ; SMR1000015586
KIT011 | NITROGEN FILL KIT | 1 |  | SMR1-001-1B-1-05 | SMR1000015587
KIT012 | DE-ICE KIT | 1 | 1 | SMR1-001-1B-A-05 | SMR1000015588 | (need to make more)
KIT013 | MAGNET WARMING KIT | 1 |  | SMR1-001-1B-A-05 | SMR1000015589 | (need to put into a kit)
KIT014 | MAGNET VACCUM DOWN KIT |  | 1 |  | SMR1000015591 | (have pump, need to put together)
KIT015 | SERVICE AND SAVCON RE-SEAT KIT | 1 | 1 |  | SMR1000015592 | (need to make into kit)
KIT016 | GAUSS METER KIT | 1 |  | SMR1-001-1B-A-03 | SMR1000015593
KIT017 | MAGNETOMETER KIT | 1 | 1 | SMR1-001-1B-B-01 | SMR1000015594 | (need at least one more)
KIT018 | RAMP PROBE KIT | 3 | 2 | SMR1-001-1B-B-03 ; SMR1-001-1B-B-03 ; SMR1-001-1B-B-03 | SMR1000015595 ; SMR1000015596 | (building kits now)
KIT019 | RAMP AND SHIM CABLE KIT | 2 | 1 | SMR1-001-1B-B-04 ; SMR1-001-1B-B-04 | SMR1000015597 ; SMR1000015598
KIT020 | SHIM CABLE KIT | 2 |  | SMR1-001-1B-B-05 ; SMR1-001-1B-B-05 | SMR1000015599 ; SMR1000015600
KIT021 | HFO RAMP CABLE KIT | 1 |  | SMR1-001-1B-B-07 | SMR1000015601
KIT022 | MR RAMP DOWN KIT | 1 | 1 | SMR1-001-1B-B01 | SMR1000015602 | (need to build one)
KIT023 | RAMP SUPPLY | 1 | 1 | SMR1-001-1B-B-01 | SMR1000015603 | (need to make one)
KIT024 | SHIM SUPPLY | 1 | 1 | SMR1-001-1B-B-01 | SMR1000015604 | (need to make one)
KIT025 | RAMP AND SHIM SUPPLY COMBO | 2 |  | SMR1-001-1B-B-01 ; SMR1-001-1B-B-01 | SMR1000015605 ; SMR1000015606 | (one in pieces possible to fix)
KIT026 | GRAFIDY KIT .5T (5x-9x) | 1 |  | SMR1-001-1B-B-02 | SMR1000015607
KIT027 | HFO GRAFIDY KIT - 6 coil (.7T) | 1 | 1 | SMR1-001-1B-B-02 | SMR1000015608 | (need to fix samples and test for Excite?)
KIT028 | GRAFFIDY KIT 1.0T (5x-9x) | 1 |  | SMR1-001-1B-B-02 | SMR1000015609
KIT029 | GRAFIDY KIT 1.5 (5x-12x) | 2 |  | SMR1-001-1B-B-02 ; SMR1-001-1B-B-02 | SMR1000015610 ; SMR1000015611 | (Need to fix one not working good)
KIT030 | GRAFIDY KIT 1.5 - 6 coil (12x-20x) |  | 1 |  |  | (need; samples, MUX board and Hypertronics con)
KIT031 | GRAFIDY KIT 3T - 2 coil (11x-12x) | 1 |  | SMR1-001-1B-B-02 | SMR1000015612
KIT032 | GRAFIDY KIT 3T - 6 coil (12x) |  | 1 |  |  | (need samples, working with Chuck now)
KIT033 | GRAFIDY KIT 3T - 6 coil (12x-20x) |  | 1 |  |  | (need; samples, MUX board and Hypertronics con)
KIT034 | PASSIVE SHIM CAMERA | 1 |  | SMR1-001-1B-B-06 | SMR1000015613
KIT035 | PASSIVE SHIM ALLIGNMENT KIT (1.5T and 3T) | 1 |  | SMR1-001-1B-B-06 | SMR1000015614
KIT036 | PLOTTING FIXTURE KIT | 3 |  |  | Have to Build Kits -> | "Parts Upstairs" - Ramon/Randy
KIT037 | HFO PASSIVE SHIM FIXTURE | 1 |  | SMR1-001-1B-B-02 | SMR1000015615
KIT038 | HFO PASSIVE SHIM DISKS KIT | 2 |  | SMR1-001-1B-D-03 ; SMR1-001-1B-D-03 | SMR1000015617 ; SMR1000015618
KIT039 | LCC BODY COIL REMOVAL KIT | 2 |  | SMR1-001-1B-D-01 ; SMR1-001-1B-C-01 | SMR1000015619 ; SMR1000015620
KIT040 | BODY COIL WHEEL KIT | 2 |  | SMR1-001-1B-C-04 ; SMR1-001-1B-C-04 | SMR1000015621 ; SMR1000015622
KIT041 | BODY COIL ROTATOR KIT | 1 |  | SMR1-001-1B-C-04 | SMR1000015623
KIT042 | BODY COIL CART | 3 |  | SMR1-001-1B-D-01 ; SMR1-001-1B-C-01 ; SMR1-001-1B-C-01 | SMR1000015624 ; SMR1000015625 ; SMR1000015626
KIT043 | MAGNET SKATE/JACK KIT | 1 |  | SMR1-001-1B-D-01 | SMR1000015627
KIT044 | INSTALL/DE-INSTALL KIT | 1 | 1 | SMR1-001-1B-D-03 | SMR1000015628 | Need another power tool kit, can buy?
KIT045 | LARGE CRIMPER KIT | 1 | 1 | SMR1-001-1B-D-02 | SMR1000015629 | (had two, need to find?)
KIT046 | NON-MAGNETIC GRADIENT CABLE CRIMPER | 1 |  | SMR1-001-1B-D-03 | SMR1000015630
KIT047 | RF DUMMY LOAD KIT | 1 | 1 | SMR1-001-1B-B-03 | SMR1000015631 | (need T attenuator piece, will get scott to source)
KIT048 | OSCILLOSCOPE | 2 |  | SMR1-001-1B-B-03 ; SMR1-001-1B-B-03 ; SMR1-001-1B-B-03 | SMR1000015632 ; SMR1000015633
KIT049 | MRI HERO KIT | 1 |  | SMR1-001-1B-C-02 | SMR1000015634
KIT050 | TPSRF SERVICE KITS | 57 |  | SMR1-001-1B-C-06 | SMR1000015648 - SMR1000015705
KIT051 | GRAD CALIBRATION PHANTOM KIT | 3 |  | SMR1-001-1B-C-05 ; SMR1-001-1B-C-05 ; SMR1-001-1B-C-05 | SMR1000015635 ; SMR1000015636 ; SMR1000015637
KIT051 | GRAD CALIBRATION PHANTOM KIT | 3 |  | SMR1-001-1B-C-05 ; SMR1-001-1B-C-05 ; SMR1-001-1B-C-05 | SMR1000015638 ; SMR1000015639 ; SMR1000015640
KIT052 | DYNAMIC DISABLE SWITCH TOOL KIT | 1 |  | SMR1-001-1B-C-04 | SMR1000015641
KIT053 | COIL TUNING EXTENSION CABLE KIT | 2 |  | SMR1-001-1B-C-04 ; SMR1-001-1B-C-04 | SMR1000015642 ; SMR1000015643
KIT054 | RF DOOR SEAL REPAIR KIT | 1 |  | SMR1-001-1B-D-03 | SMR1000015644 | INCOMPLETE ?
KIT055 | RDU NETBOOK KIT | 1 | 1 | SMR1-001-1B-A-02 | SMR1000015645 | We had two?
KIT056 | MAGNET MONITOR KIT | 1 | 3 | SMR1-001-1B-B-01 | SMR1000015646 | (need to build more cables
KIT057 | HIOKI METER KIT | 1 |  | SMR1-001-1B-B-03 | SMR1000015647
KIT058 | 3M SERVICE VAUUM KIT |  | 2 | SMR1-001-1B-C-03 |  | Need more vaccum kits
KIT059 | CT HOIST KIT | 1 | 1 | SMR1-001-1B-C-02 ; SMR1-001-1B-B-02 | RED & BLACK ARE CURRENTLY IN TB (BLK INCMPLT) | Need at least one more