| System Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compressor Data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Temp In(˚C) | Temp Out |  |  | Flow L/m |  |  |  |  | Static Press. |  |  | Dyn. Press. |  |  |  | Comp Hours |  |  |  |  | Time |  |  |  |  |  |
| Arrival |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Final |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Magnet Data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Gas Temps (˚C) |  |  |  |  |  |  |  |  |  |  |
| Parameter |  |  | Arrival |  |  | After |  |  | Exit |  |  | Final |  |  |  |  |  |  |  |  |  |  |  | HP |  |  |  |  |  | LP |  |
| Helium Level (%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Arrival |  |  |  |  |  |  |  |  |  |  |
| Battery Volts (V) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | After |  |  |  |  |  |  |  |  |  |  |
| 50K Link (˚K) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Exit |  |  |  |  |  |  |  |  |  |  |
| 50K Bore (˚K) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Final |  |  |  |  |  |  |  |  |  |  |
| Carbon Res. 1 (Ω) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Carbon Res. 2 (Ω) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Magnet Ramping |  |  |  |  |  |  |  |  |  |  |  |  |
| Carbon Res. 3 (Ω) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Old Set Pt. |  |  |  | New Set Pt. |  |  | Old Center Freq. |  |  |  |  | New Center Freq. |
| Carbon Res. 4 (Ω) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Turret 1 (˚K) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Turret 2 (˚K) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Switch Heater (Ω) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quench Heater (Ω) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cold Head (˚K) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ERDU |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Magnet Pressure (psia) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pressure Heater (%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Press. Heater Avg. (W) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EIS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Self-Test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Compressor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LVQD Trigger |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Signature and Date: _______________________________________