# Quarterly Toshiba PM Checklist

# For Aquilion and Asteion Scanners

# (4, 8, 16, LB, 32 and 64 Slice Systems)

| Customer | Site Name |  |  |  |
| --- | --- | --- | --- | --- |
| Location | Site Location |  |  |  |
| System | System, ex: Aquilion 64 |  |  |  |
| Engineer | Engineer |  |  |  |
| Quarter | Q1 | Q2 | Q3 | Q4 |
| Date | Q1 date | Q2 date | Q3 date | Q4 date |

# System Information

| Model | Model, ex: TSX-101A/H |
| --- | --- |
| Serial Number | Serial Number |
| Base Software Version | Base Software |
| Apps Software Version | Apps Software |
| Tube Serial Number | Tube Serial Number |
| Tube Slice Count | Tube Slice Count |
| Gantry Slice Count | Gantry Slice Count |

# Customer

Operator Reported Problems

Click here to enter text

# Engineer

| FSE Reported Problems |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Click here to enter text |  |  |  |  |  |
| PM Section Perform the following steps and check off each step for the corresponding quarter when completed. Input any other data when requested. Each scanner is different; consult the system’s PM manual to identify the exact breakdown of each sub-section. | Quarter 1 | Quarter 2 | Quarter 3 | Quarter 4 |
| Gantry – Quarterly |  |  |  |  |
| Slip Rings |  |  |  |  |
| Gantry Rotation Checks |  |  |  |  |
| Safety Circuit Checks |  |  |  |  |
| Fan Filter Cleaning |  |  |  |  |
| Operations Check |  |  |  |  |
| Gantry – Every 6 Months |  |  |  |  |
| Laser Light check |  |  |  |  |
| Mylar Window Check |  |  |  |  |
| Gantry – Annually |  |  |  |  |
| Mounting Bolt Check |  |  |  |  |
| Collimator and Slit Check |  |  |  |  |
| Gantry Tilt Check |  |  |  |  |
| Power Voltage Check |  |  |  |  |
| Gantry Panel Display Check |  |  |  |  |
| Gantry – Every Two Years |  |  |  |  |
| Terminal Board Screw Check |  |  |  |  |
| GTSA Battery Check |  |  |  |  |
| Couch - Quarterly |  |  |  |  |
| External Cleaning |  |  |  |  |
| Interlock and Operational Check |  |  |  |  |
| Couch – Every 6 Months |  |  |  |  |
| Limit Switch Check |  |  |  |  |
| Accessories Check |  |  |  |  |
| Couch - Annually |  |  |  |  |
| Rails Check |  |  |  |  |
| Yearly Operations Check |  |  |  |  |
| Power Supply Check |  |  |  |  |
| Sensor Check |  |  |  |  |
| Couch – Every Two Years |  |  |  |  |
| Belt Tension Check |  |  |  |  |

| X-Ray – Quarterly |  |  |  |  |
| --- | --- | --- | --- | --- |
| Heat Exchanger Check |  |  |  |  |
| X-ray Tube Receptacle Check |  |  |  |  |
| IF Adjustments and Check |  |  |  |  |
| X-ray Tube Check |  |  |  |  |
| X-Ray – Annually |  |  |  |  |
| Rotor Check |  |  |  |  |
| Bolt Tightness Check |  |  |  |  |
| Voltage and Current Check |  |  |  |  |
| Starter Check |  |  |  |  |
| X-Ray – Every 2 Years |  |  |  |  |
| XC Battery Check |  |  |  |  |
| DAS - Quarterly |  |  |  |  |
| Temperature Check |  |  |  |  |
| Window Cleaning |  |  |  |  |
| Fan Check |  |  |  |  |
| DAS - Annually |  |  |  |  |
| Voltage Check |  |  |  |  |
| Console - Quarterly |  |  |  |  |
| General Cleaning |  |  |  |  |
| Mouse and Keyboard Check |  |  |  |  |
| Intercom Check |  |  |  |  |
| Console - Yearly |  |  |  |  |
| Line Voltage Check |  |  |  |  |
| System – Quarterly |  |  |  |  |
| NRA Calibration – 1 Per Quarter - Rotating (LL, L, M, S) |  |  |  |  |
| Air Calibrations For All Fields |  |  |  |  |
| Image Quality and System Checks – Image Quality PM Sheet |  |  |  |  |
| System Backup |  |  |  |  |

Comments and Notes

Click here to enter text